Facilities Planning Department   615 Fitch Street, Hamden, CT 06514  Tel (203)392-6055   Fax (203)392-6058

North Campus Townhouse Units Renovations - 2020

Project Number: SCSU-2020-03

Bid No.:RFQ-20-SCSU-11

# ADDENDUM NO. 5

# May 14, 2020

TO: 	Prospective Contractors of Record

# FROM:	Peter J. Visentin, Director of Architectural Services

# Richard L. Glasson, Purchasing Assistant

Procurement, Southern Connecticut State University 501 Crescent Street, New Haven, CT 06515-1355

Tel 203-392-6702

REFERENCE: 	Proposal Documents For:

North Campus Townhouse Units Renovations – 2020

Project Number: SCSU-2020-03

Bid No.: RFQ-20-SCSU-11

# This Addendum forms a part of the contract documents and modifies the original proposal documents, Dated April 28, 2020.

Item 1	DRAWING A4 – DOORS AND FINISH SCHEDULES – PAINTED BATHROOM WALLS

This modifies information in Finish Schedule and Finish Notes, A-4, and references to painted Gypsum Board in the Bathroom Elevations, A-5

Revised Wall Painted Finish at Gypsum Board in all Bathrooms (full height, floor to ceiling) –

Epoxy Wall Finish System

Product: Dur-A-Wall VC (55-60 mils) with Urethane Topcoat

Manufacturer: Dur-A-Flex, Inc. 95 Goodwin Street, East Hartford, CT 06108 (860) 528-9838

www.dur-a-flex.com

Color: Selected from Standard Micro-Chip Color Blends

Topcoat: Satin sheen

Follow Epoxy Paint manufacturer’s extensive installation instructions for preparation of substrate and for Dur-a-Wall Primer

## ATTACHMENTS:

CONTRACTOR  SHALL ACKNOWLEDGE  RECEIPT OF THIS

ADDENDUM ON THE BID FORM

END OF ADDENDUM NO. 5

Sincerely yours,

Peter J. Visentin 							Richard L. Glasson

Peter J. Visentin, AIA						               	Richard L. Glasson

Director of Architectural Services	Purchasing Assistant